## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Director Skill Development, J&K, Srinagar
Name of Work: Establishment of Language Labs.
Contract No: DSD/Pur/2020-21/327 dated 18-09-2020
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | GST (If applicable in Percentage) | GST Amount in Rs. P | [35 empty] | HSN / SAC Code |  | TOTAL AMOUNT excluding taxes in Rs. P | TOTAL AMOUNT including taxes Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 8 | 9 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 10 | 52 | 11 | 12 | 13
1 | Establishment Of Language Lab | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Software: 1. 1 The learning system should include all the features that are essential for effective and enjoyable teaching and learning, such as pre-set language learning activities, audio and text communication tools, web browsing and program launch capabilities, file functions, classroom management and controls features. 2. The System should provide the teacher to use one monitor dedicated as the control panel to manage the language lab activity. 3. The teacher should be able to send the instructor’s screen, audio, video and text-based content to student consoles for teacher presentation. 4. The teacher and the students should be able to interact (speaking/ listening) using headset with built-in microphone. 5. There should be facilities for the teacher to have one to one talk with the students, to address them as a group, to facilitate student pairing, small group formation etc. to facilitate different language learning activities. 6. The student/teacher should be able to interact through the headset and microphone without interfering with other student’s audio-visual track. 7. The software should provide a track of student’s progress in the language lab. It should comprise tools for assessing students learning in the lab. 8. The system should have a media library which will enable a teacher to upload audio, video and text based content. 9. The system should allow the teacher to add exercises and instructions to any audio or video file. 10. The software should be able to record audio or video student activities for evaluation and feedback purposes. 11. The software should be integrated with extensive study material of multimedia files of text, audio, video in English with option in UK, US and Neutral accents. 12. Language Enrichment: The content should focus on building all four language skills namely, • Listening skills • Speaking skills • Reading skills • Writing skills (Contd. at S.No 1.002, item2) | item1 | 155 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.02 | 13. The content should be available in all the three levels ( Beginner, Intermediate and Advanced levels 14. The software content should cover audio-video samples for better learning of different concepts: • Pronunciation ,Correct pronunciation of consonant and vowel sounds ; imparted through use of phonetics. • English Grammar (Basic Grammar and Advanced Grammar with practice exercises) • Vocabulary builder • Fluency • Intonation• Comprehension with exercise • Situational Conversations• Errors in Spoken English• Idioms and Phrases • Basics of communication• Effective Listening• Telephone Etiquettes • Preparing for an Interview• Presentation Skills (Creating and Delivering a Presentation)• Body Language• Resume Writing• Group Discussion • Public Speaking• Letter Writing• Jaw Muscle exercise• Tense 15. The software should have variety of exercise types like Multiple Choice/ Match the Following/ Fill in the blanks/ True or False etc. 16 The software module should have a ictionary, translations and Language Spell Checker. 17. The system should allow text to speech facility with specialized voice. 18. The system should allow the student to perform voice chat or written chat among themselves. 19. The software should allow to record and playback learner’s voice production and compare with the native speaker. 20. The system should allow the teacher to assign exercises to different batches/ groups or Sessions. 21.The teacher should be able to divide the students in virtual pairs, groups and facilitate Collaboration. 22. The teacher should be able to share the screen of a particular student to the entire class. 23.The software package should include Flash cards, Work books. | item2 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | Instructor Console (Teacher PC): Processor : Intel core i5: 3.0GHz (64- bit processor) or faster,8th Generation or higher, 8M Cache or more RAM : 8 GB or Above Hard Disk: 1 TB or above Ethernet: Minimum 100 Mbps Wi-Fi: enabled preferably 801.11ac Display: 18.5 inches or higher, HD Graphics: Intigrated Graphics Card Operating System: Windows server 2016 OS [Pre Installed] AV Device: Intigrated Webcam HD 720p or higher Form Factor: All-In-One, screen resolution FHD (1920x1080) or higher Warranty : 3 year (3-3-3): 3 years of parts, labor and on-site repair (MAKE: LENOVO, DELL, HP, ACER) | item3 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Student PC: Processor : Intel core i5; 3.0GHz (64- bit processor) or faster,8th Generation or higher, 8M Cache or more RAM : 8 GB or Above Hard Disk: 1 TB or above Ethernet: 100 upto1000 Mbps enabled Wi-Fi: enabled Preferably 801.11ac Display: 18.5 inches or higher, HD Graphics: Intigrated Graphics Card Operating System: Windows 10 pro 64 [Pre Installed] AV Device: Intigrated Webcam HD 720p or higher Form Factor: All-In-One, screen resolution HD(1920x1080) or higher Warranty : 3 year (3-3-3): 3 years of parts, labor and on-site repair (MAKE: LENOVO, DELL, HP, ACER) | item4 | 150 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | IFPD 65”, Visualizer: 12X optical zoom, Computer interface: USB, Sound band/Dots speakers., Required cables. Resolution (3840x2160)or higher, Brightness 500 CD/ M2 or higher, Stereo Sound with inbuilt min 20 watt speakers 2nos. Touch points min. 10 touch | item5 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.06 | Head phone with mic of superior quality, noise cancellation 3.5mm jack input impedance -32 ohms, frequency response (headset) 20 Hz to 16 Khz | item6 | 155 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.07 | 8 ceiling lights of 14 watt, 3 outlets min per room and 2 ports minimum for each user. In case there is no false ceiling at the site, simple ceiling lights should be installed. (As per requirement) | item7 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Electric Outlets (heating Points) 5pin sockets,15 amp with switch (As per Requirement) | item8 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.09 | Servo Voltage stabilizer 10 KVA: 10 KVA single phase Type: Indoor Floor mounting Mode of operation: Auto/Manual facility Winding : copper Wound Input Voltage Range: 90V- 290V AC (Single Phase ) Frequency Range of Operation: 47 Hz – 53Hz Output Voltage: 220VAC / 230 VAC + 2 % (Single Phase) Correction Speed: 20V/ Sec Control Circuit: Solid State Electronic control circuit Efficiency: Above 95% at full load Short Time Overload Capacity: Not less than 110% for 5 minutes Not less than 125% for 1 minutes Protections: . Output MCCB for OL & SC protection | item9 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.1 | 7.5 KVA online UPS: Capacity/Rating : 7.5 KVA, ONLINE UPS Technology : IGBT-PWM with inbuilt isolation transformer Input Voltage : 165 V-285V Input Frequency : 50Hz +/- 5% Output Voltage : 230V +/- 1% pure Sine wave Output Frequency : 50Hz +/- 5%pure Sine wave Backup time (Minutes) : 1 hours Battery VAH : More than 14400 VAH (SMF (BATTERIES) Protection : 1 Protection for battery under voltage, Over Charge. Metering: User interactive LCD panel for displaying various parameters like AC input Voltage, Output AC Voltage, Current Frequency, battery Voltage, indicators for mains presence, battery charging and discharging, Output over Load, Low battery Voltage , | item10 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.11 | Electric face plate with 2 switch, 2 ports as per requirements | item11 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.12 | Networking (For Network based setup only) | item12 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.13 | POE switch, 16 port (As per requirement) | item13 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.14 | Network rack & extension board with power supply (As per requirement) | item14 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.15 | Cat 6e cable (As per requirement) | item15 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.16 | RJ 45 Connectors (As per requirement) | item16 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.17 | Input/output face plate (As per requirement) | item17 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.18 | DP to VGA convertor (for server) (As per requirement) | item18 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.19 | 5m stereo to RCA cable (As per requirement) | item19 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.2 | Instructor Chair with Arm: Chair made of tubular frame, cantilever type made dia 1” x 18 G MS tube reinforced at the bends to give spring-back effect and provide strength. The seat and back are made from 10mm thick hot pressed water resistant commercial plywood having moulded high density foam 40mm thick, upholstered with fabric. The ends of the twin tubes on both sides are covered with moulded nylon covers to impart elegant looks to the chair. The tubular frame and armrest are powder coated minimum DPT 45 microns complete in all respect. Overall Size :82cm (H) x 59.5 (D) x 53.5 (W) Seat Size : 42.0cm (W) x 42.0 (D) Back Size Ht:42.0 cm (W) x 27.0cm (D) | item20 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.21 | Instructor Table: Size : 4’ x 2¼’ x 2½’ The table top is made of 18 mm thick, pre laminated MDF board with edges protected with PVC lipping affixed to the edges with hot melt glue. The top steel frame supporting the table is of the size 1170 x 560mm manufactured from CRCA, 18 Gauge, 19x32 channel. The bottom frame is manufactured from tubular pipe 16 gauge CRCA 25mms dia, duly equipped with pipe for footrest at 160mms above the ground. The table is provided with 3 drawer unit on the right side with outer dimensions 355W x 560D x 455H made of CRCA sheet and a 5 lever lock for a synchronized operation of the top, middle and bottom drawers duly interlocked with the movement of the top drawer which is provided with the lock. | item21 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.22 | COMPUTER CHAIRS (GAS LIFTING MECHANISM) WITHOUT ARMS: Computer chair is revolving type having 360 swiveling mechanism. With chrome plated base nylon wheels The Chair has gas lifting mechanism for seat height adjustment with cushioning effect. The height adjustment of the seat is 400 to 500 mms. The seat is cushioned with polyurethane foam having density of 30-40 kg/m3 .The seat and back are upholstered with fine quality cloth. size of seat depth-375mm-425mm and width. 400mm-450mm. | item22 | 150 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.23 | Computer Work station single seater: Table top 750mmx750mmx750mm, made of 19 mm thick MDF board laminated on top affixed with PVC lipping on sides. Sliding shelf for keyboard with maximum outward movement of 8” for easy working on keyboard.19mm MDF Board of height450mm to be provided on three sides of the table making it one cabin with hole on the top of table for wiring and LAN connections. | item23 | 150 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.24 | Interiors for Lab with minimum 70sqm floor area basis. | item24 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.25 | Electric/minor repairs works including main control board. (As per requirement) | item25 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.26 | Split AC 1.5 tons (hot and cold) rating 4 star | item26 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.27 | Curtains/Blinds for windows (As per requirement) | item27 | 1 | Lumpsum |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information