## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Director Skill Development
Name of Work: Supply of Machinery Equipment (Group B)
Contract No: DSD/Pur/2020-21/541 dated 04-12-2020
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | GST Amount (Kindly Fill Full GST Amount) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
2 | AUTOMOBILE ENGINEERING | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Exhaust Gas Analyzer : Gases detected CO, HC, NOx , CO2 and O2 Electro- Chemical sensor for O2 and Nox | item1 | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | Driving Simulator (3D) : Powder coated metal frame,with telescopic construction. Road car seat and rear handbrake mechanism all linked to the driving software. Computer has intel core i 5, 7600 Quad core, 3.5 GHz CPU, 8 GB RAM, Microsoft Windows 10 operating system with graphic card., 3x24 inch LED screen, wireless keyboard with inbuilt mouse tracker pad. | item2 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Electrical Test Bench : Auto. Electrical test bench is designed for testing of:- Dynamo with regulator upto 35 A current rating Alternator upto 40 A current rating Free run test of starer motor upto 150 A for testing power source 110 V AC power source for carrying out insulation test Equipped with 2 HP AC motor mounted on a steel cabinet. | item3 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.04 | Car Washer : Flow rate = 300 l/hr, hose length = min. 3 m, working pressure = 100 bar, capacity = 450 ml detergent tank, works on 220 V 50 Hz supply, cable length = 5 m , power = 1200 W | item4 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.05 | Cylinder Boring Machine : Semi- Automatic, vertical cylinder boring machine, boring range = 65 to 140 mm, boring capacity = 40 to 200 mm. | item5 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | Equipment for Morse Test : 4 Cylinder, 4 stroke water cooled petrol engine ( NEW), complete with clutch plate assembly and self starter. Hydraulic dynamometer with roto and starter dead weight coupled to the engine through flexible coupling. Digital rpm indicator for speed measurement. Fuel intake measurement using fuel tank 3 way cock and burette. Ait intake mesrurement consists of an air tank fitted with baffle orifice plate. A U tube manometer to measure differential pressure. | item6 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | Car Air conditioner trainer kit : (Brand New) Made out of original parts, should be suitably sectioned and arranged to demonstrate the internal construction details showing the minute information such as AC compressor, condenser, radiator, its pipe lining, blower/fan assembly etc., the model will be suitably painted and The entire model is mounted on a sturdy iron frame. | item7 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.08 | Automatic Tyre Changer : Operating air pressure = 8 to 10 bar, electric motor = 1.1 KW, turn table rotation speed = 6.5 to 13 rpm, rim diameter = 10 inch to 26 inch | item8 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.09 | Cut section model of Automatic transmission : (Brand New) Made out of original parts, should be suitably sectioned and arranged to demonstrate the internal construction details showing the minute information. The entire model is mounted on a sturdy iron frame. | item9 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Working model of hydaulic power steering : (Brand New) Made out of original parts, should be suitably sectioned and arranged to demonstrate the internal construction details showing the minute information. The entire model is mounted on a sturdy iron frame. | item10 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | Cut section model of turbo- charger : (Brand New) Made out of original parts, should be suitably sectioned and arranged to demonstrate the internal construction details showing the minute information. The entire model is mounted on a sturdy iron frame. | item11 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.12 | Digital multimeter : Capable of measuring (a) AC/DC current upto 10 A (b) AC/DC voltage upto 1000 V (c) resistance up to 50 Mega Ohm (d) frequency up to 100 KHz (e) capacitance up to 10 micro farad | item12 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.13 | Two Wheeler lift : Lifting capacity = 180 Kg, Valve operation = foot operated, minimum lifting height = 250 mm, maximum lifting height = 765 mm, air pressure = 6 KGf/cm2 | item13 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.14 | Hydraulic Jack : (a) 5 Ton (b) 10 Ton trolley jack | item14 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.15 | Tachometer : Digital non- contact type, battery operated, resolution 0.1 rpm (<1000 rpm) 1 rpm (>1000 rpm) Range = 5 to 10000 rpm, display 5 digit LCD, | item15 | 7 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.16 | Tool Trolley : 780 mm x 520 mm x 750 mm, five drawer | item16 | 7 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | MECHANICAL ENGINEERING
3.01 | All Geared Lathe Machine: Centre to centre-1500mm, Centre Height-250mm, Spindle Bore-80mm; Motor-5h.p; Weight-1400-2000 kgs Accessories. Three jaw Chuck, Chip Tray Rear Tool Post, Steady Rest Follow Rest. Taper Turning Attachment | item17 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.02 | METALLURGICAL TRINOCULAR MICROSCOPE: I). Specification 1. Eyepiece tube: inverted tri-ocular eyepiece tube Leaning degree of tube about 30°; Pupil adjusting range 53-75mm; Bending light degree of eyepiece adjustable 2. Plan field eyepiece: 10x plan achromatic, objectives: 10 、25、40、100 X Total magnification：1000X 3.machincal tube length: about 160mm 4.Same axis rough and slight moving adjustable focusing system with limitation and elasticity adjusting unit. Up and down: 30mm Micro moving value: 0.002mm 5.Same axis double layer machine moving carrying stage: Specification: about 200x152mm Moving range: 15x15mm 6.Diameter of the hole on the moving stage: Ф10mm, Ф20mm 7.Filter: yellow, blue, green 8.Illuination unit: KELE Illumination: 60V/20W halogen lamp, adjustable brightness. Power: 220V/50Hz II)Outfit: 1. Main body (including tri-ocular): 1set 2. 10x eyepiece: 2pc 3. Plan achromatic objective : 10x, 25x, 40x, 100x 1each 4. Filter: yellow, blue, green 1each 5. 6V/20W halogen lamp 1pc 6. Light case: 1set | item18 | 15 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.03 | COMPLETE REFRIGERATION AND A.C TOOL KIT. Pipe cutters; Pipe flaring tools; Set off spanner screw drivers; Nuts, unions, reducers of various sizes.; Service valve gauges, compound gauges.; Leak detectors.; Blow lamps. Tool accessories and other items such as Tube cutter, Spring bender lever, Mech. Bender, flaring tool, flaring block, flaring yoke, swaging tools, set off tools of different types of wrenches, pliers, screw drivers (including star screw driver), gold switch hacksaw and blades, vice, reamers, smooth files, tongs, test shut off valves, service gauges, compound gauge, charging hoses, blow lamp, soldering and brazing units, nitrogen cylinder,R-12 and R-12 cylinder of 2 kg and 5 kg. Insulating materials, pipe wrench, L end key, set blow lamp | item19 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.04 | MEASURING INSTRUMENTS FOR REF. AND A.C. • Thermometer • Thermocouple with amplifier. • Psychrometer both sling and hair type • Air flow measurement app. • Energy meters. Measuring instruments: mercury in glass thermometer, thermocouple, energy meters, roto meters, water meters, Anima meter, voltmeter, water meters, micro volt meter, meggar meter. Digital multimeter | item20 | 7 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.05 | SAMPLES OF ALL VALVES USED IN REF. AND AIRCONDITIONING: Safety controls: High pressure and low pressure cut outs, oil pressure controls, solenoid valves, automatic expansion valves, thermostatic expansion valves, thermostat for low temperatures, thermostat for medium temperatures and thermostat of high temperatures. | item21 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.06 | Thermocouple Range 0-200 degree C. Accuracy +/- 1% of the range complete with sensors | item22 | 12 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.07 | Pyrometer Complete set with sensors to measure the temperature of 2000 degree Celsius | item23 | 11 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.08 | Infra red thermometer Temperature range: –20°C to 400°C Operating temperature range: 0°C to 50°C at < 70% relative humidity Display Resolution: 1°C.Accuracy: ±2% of reading or ±3°C, whichever is greater @ 18 to 28°C ambient operating temperature.Response time: 1 second.Display Resolution on the meter: 1°C Spectral Response: 6 to 14 μm nominal Emissivity: preset 0.95 Detection element: Thermopile Field of view: 65 mm diameter circle at 1000 mm range Average battery life: 100 | item24 | 11 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.09 | Portable Welding Set Single Phase rectifier type 300amps | item25 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.1 | TIG Welding Complete set 400amp.AC/DC complete with inert gas filled cylinder 6m3 with regulators complete | item26 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.11 | Heating Furnace Electrically operated for Aluminium having capacity 10 kgs | item27 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.12 | Plastic Injection Moulding Machine Mini plastic desktop model injection moulding machine Heated Bed: 1 Layer Thickness: 0.1-0.4 mm nozzle Temperature: 0.4mm Product size: 476*370*433mm | item28 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.13 | Polishing Machine Rotating speed of working disk: 150/300 rpm(Two-level) Diameter of working disk: 200mm / 250mm Power supply: 380V three phases Net weight: 50 Kg (Approx) Abrasive cut off machine Rating 2H.P provided with abrasive, grinding wheels capable of cutting different metals of various diameters. | item29 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.14 | CNC Trainer Milling Machine The CNC Machine Centre equipment is required to be supplied with the essential component and accessories and the same should be provided with PC CNC Milling Trainer(HMT/BOTLIBAI/MTAB) 3-axis CNC Bench Milling Machine suitable for teaching & training in CNC Programming & Operation. M/C is to be programmed using ISO format with facility for providing the programme using TOOL PATH Graphics & further option inking to CAD/CAM & CIM Controller - Original FANUC./Siemens Table size- about 480 X 180 mm Longitudinal Travel X Axis about 250 mm Cross Travel Y Axis about 150 mm Head Travel Z Axis about 200 mm Automatic tool changer 6nos | item30 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.15 | Dial Indicator (Mechanical) Shape = Round Range= 0-10mm Graduation=0.01mm size=0-10mm | item31 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.16 | Pelton wheel turbine test rig | item32 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.17 | Francis turbine test Rig | item33 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.18 | Cam and follower arrangement Models | item34 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.19 | Torsion testing Machine | item35 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.2 | Kaplan turbine model | item36 | 7 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.21 | Cochran boiler model | item37 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.22 | Babcock and wilcox boiler model | item38 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.23 | U tube manometer | item39 | 12 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.24 | angle plate | item40 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.25 | surface plate | item41 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.26 | Surface roughness tester | item42 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.27 | Gear tooth vernier | item43 | 7 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.28 | Feeler gauges | item44 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.29 | Portable Pyrometer | item45 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.3 | Jib Crane Appartus for Applied Mechanics Lab | item46 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.31 | Inclined Plane apparatus for Applied Mechanics Lab | item47 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.32 | Screw jack Apparatus for Applied Mechanics Lab | item48 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.33 | Single Purchase crab Appartus for Applied Mechanics Lab | item49 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.34 | Vernier calliper and microscope for Internal and external measurements | item50 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.35 | Height gauge and depth gauge for Measurement of linear dimensions | item51 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.36 | Plain plug and ring gauge, taper plug and ring gauge, thread plug and ring gauge and snap gauges. | item52 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.37 | Cylinderical rollers ,spherical balls and slip gauges for Measurement of Angle | item53 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.38 | Bevel protector ,Sine Bar,Sine Table , Slip Gauges, Height Gauge and dial indicator. | item54 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.39 | Angle deckor for Measurement of Angle | item55 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.4 | Flange/Disc micrometer for Measurement over teeth (M.O.T) | item56 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.41 | Bench centre, mandrel, cylinderical pin and dial indicator for Measurement of spur gear characherstics | item57 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.42 | Gear Roller Tester and Master Gear for Measurement of Composite error in spur gear characherstics | item58 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.43 | Tool maker's microscope | item59 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.44 | Surface Roughness tester for measurement of surface roughness | item60 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.45 | Profile Projector for measurement of a profile | item61 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.46 | Auto - Collimator | item62 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.47 | Izod test and Charpy test machine for impact test on metals | item63 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.48 | Torsion Testing machine for the measurement of modulus of rigidity | item64 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.49 | Brinell, Rockwell and Vicker Hardness Machine for measuring hardness of metals | item65 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.5 | Venturimeter, Orificemeter and Pitot Tube | item66 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.51 | Working model of Pelton wheel and francis turbine. | item67 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.52 | Hydraulic Power Hack saw Machine ( cutting blade size 14'',16'') | item68 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.53 | Bench grinder ( 2 hp) | item69 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.54 | Gas weliding machine (300 ampere) | item70 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.55 | Air Compressor | item71 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.56 | Universal Table • For experimentally verifying the laws of triangle, parallelogram and polygon of forces. • Equal circular 40cm dia aluminum disc, graduated into 360 divisions (degree) complete with leveling screws clamping device to fix the table at any desired angle,5 sliding clamp pulleys central ring string and five sets of iron nickelled slotted weights and one hanger of 15gm each. • Complete with all optional accessories | item72 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.57 | Polygon Law of Forces Apparatus • Consisting of wooden board of 70x70cm size, provided with two wall brackets and 4 adjustable frictionless aluminum pulleys and 5 set of slotted iron nickelled each set containing 9 weight and one hanger of 50gms. • Complete with all optional accessories | item73 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.58 | Simply Supported Beam Apparatus • Span of 1.0m consisting of 2 compression thrust type 10 kg tubular spring balances fixed on wooden polished board, a wooden bar with steel back plate. Completed with stirrups, hooks and two one kg weights. • Complete with all optional accessories | item74 | 16 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.59 | Friction Slide Apparatus • Consisting of a 15x60cm wooden board with a glass top hinged on a iron base to which a sector with graduated arc and vertical scale is provided. The plane may be clamped at any angle up to 60.a 5cm frictionless pulley is attached to the end by means of a clamp adjustable to any necessary position. One set of three wooden carriages with different bottom surface(wooden,glass,iron) • Complete with all optional accessories | item75 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.6 | Worm and Worm Wheel Apparatus • Consisting of a machine cut worm gear of 25cm dia carrying a metal drum of 12cm dia and machine cut worm on steel spindle carried 12cm dia pulley. The whole arrangement is fixed on heavy cast iron bracket capable to be fixed to a wall. Complete with effort pulley, string and hooks • Complete with all optional accessories | item76 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.61 | Screw Jack • All metallic construction accurately machine cut screw with V pitch of 5mm carrying double flanged turned table of about 20 cm dia.fitted on a heavy cast iron base and complete with 2 adjustable pulleys, cord and hooks. • Complete with all optional accessories | item77 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.62 | Winch Crab Single Purchase • Fitted with heavy cast iron ball brackets. The grooved wheel is of 25cm dia and gears are machine cut. • Complete with all optional accessories | item78 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.63 | Winch Crab Double Purchase • Fitted with heavy cast iron ball brackets. The grooved wheel is of 25cm dia and gears are machine cut. Double set of gearing arrangements. • Complete with all optional accessories | item79 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.64 | Moment of Inertia of a Fly Wheel Apparatus • 20cm dia comprising of carefully machine and balanced cast iron wheel and steel spindle in support on ball bearing in strong iron bracket .the wheel is smoothly painted black and is marked with a line.A pointer is fixed to one of the brackets. Diametric hole is drilled in the shaft to take a pin and cord the base is provided with holes so that the apparatus can be fixed to wall • Complete with all optional accessories | item80 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.65 | Simple Jib Crane • Consisting of a tubular compression balance pivoted about an axis and fitted to the base. The tie chain has an adjustable angle bracket and fitted with a 10kg extension balance. Complete wooden base with 1.2m jib. • Complete with all optional accessories | item81 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.66 | First System of Pulley Apparatus • Complete wall fixing set with 5 nos of single pulley. • Complete with all optional accessories | item82 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.67 | Second System of Pulley Apparatus • Complete wall fixing set with 2 nos of triple pulley block. • Complete with all optional accessories | item83 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.68 | Slotted Weight • 50 gm, 100 gm, 200 gm, 500 gm 1 gm, 2 gm | item84 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.69 | Apparatus to find coefficient of friction | item85 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4 | WORKSHOP
4.01 | Capstan lathe with Auto Feed Turret with tools packages. Length of Bed-1350-1375mm; Width of Bed-180-200mm; Height of centre-190-200mm; Maximum Collet capacity-60mm; Spindle Hollow-62mm; Range of spindle speed-90-1000. Motor-2h.p. | item86 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.02 | Metal cutting saw. Cutting capacity in round-200mm . Blade speed-25-40m/min. Blade dimensions-2540x0.9x27mm Motor-1h,p Coolant Motor-0.1h.p Coolant tank-30lts. | item87 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.03 | Induction heating Furnace for 20kgs of aluminium metal. | item88 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.04 | Seam welding Machine Circumferentially with suitable compressor. Dia.of Upper wheel(Cu-alloy)-200mm Dia .of lower wheel(cu-alloy)-200mm Capacity-30kva.Primary Voltage-415,Standard stroke-75mm. with digital programme Logic control. | item89 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.05 | Abrasive Cuttoff Machine Capacity M.S. round 25mm | item90 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.06 | Circular Saw.Blade size-175-185mm,depth of cut-60-65mm.power-1500w | item91 | 7 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.07 | Impact Drill-500w,chuck size-10mm | item92 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.08 | Portable Disc Sander Sanding plate Dia 125mm | item93 | 9 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.09 | Angle Grinder Rated Input: 1000 watt Disc Dia: 125mm Extra grinding wheels to be supplied with the equipment | item94 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.1 | Portable Abrasive Cutoff Machine: M.S. round 25mm | item95 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.11 | Pillar Type all geared drilling machine32mm with all accessories | item96 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.12 | Gas Welding Apparatus One oxygen filled cylinder and one Acetylene filled cylinder, oxy and acetylene regulators, pipe 6mts for each cylinder. set of torches, high pressure cutting acetylene torch | item97 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.13 | Spot Welding Pedestal operated 25kva foot operated | item98 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.14 | Paint Spray Gun with 400ml steel cup | item99 | 22 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.15 | Work Bench made of wood(kail) Top-6x3ft made of kail wood. Legs-3”x3” square legs made of kail wood Height-33” Top is provided with two planks-6’x8”on the edges for vices to be fixed | item100 | 18 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.16 | Copper Block 4’x4’x4’ | item101 | 11 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.17 | Alumunium Block 4’x4’x4’ | item102 | 12 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.18 | Cast Iron Block 4’x4’x4’ | item103 | 9 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.19 | Black Smiths Hearth With All Accessories | item104 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.2 | Anvil Single Beak Type, weight 30kgs | item105 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.21 | Swage Block, size 20x20x4” | item106 | 11 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.22 | Milling machine Geared head universal milling machine having longitudinal auto feed with following specifications: • surface of table 1120x280 • no of T slots 3x15 • Longitudinal power by hand 558mm approx. • cross by hand 200to 250mm • vertical hand 375to415mm • length of Arbor 635mm no of spindle speed 5 • spindle motor 2hp • feed motor 2hp • coolant motor 1 to 10 hp • divide head and slotting attachment | item107 | 3 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.23 | Pedestal grinder : Double ended pedestal grinder with rough and smooth grinding wheels of each end. Both the wheels are guarded. Wheel size 200x25mm, motor 1hp | item108 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.24 | Single Phase A C Welding machine, Supply voltage 220-230 Volts, Frequency 50/60 Hz | item109 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.25 | Sheet bending Machine .Bending capacity in mild steel 1500mmx1.6mm Motor-5h.p. | item110 | 7 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.26 | Cast Iron Mandrel Cone | item111 | 11 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.27 | Smiths Forge Shovel | item112 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.28 | Pressure washer portable 12 V AC/DC 120 150 PSI | item113 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.29 | Screw Jack 70-80 Ton | item114 | 11 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.3 | Beam weighing scale 100kg | item115 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.31 | Electric Jigsaw 3000 Rpm, 450 W | item116 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.32 | Round Die Set for thread cutting with Handle | item117 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.33 | Fitters Vice 6" | item118 | 7 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.34 | V-block with Clamp 50kgs | item119 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.35 | One oxygen filled cylinder and one Acetylene filled cylinder, oxy and acetylene regulators, pipe 6mts for each cylinder, set of torches, high pressure cutting acetylene torch | item120 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.36 | MIG welding apparatus,400amp.with feeder wire and CO2 filled cylinder with regulators complete | item121 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.37 | Mobile Weld fume Extractor | item122 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5 | LEATHER TECHNOLOGY
5.01 | Water Vapor Permeability Tester. Size of test dishes 83 mm ID x 90 mm OD x 18.5 mm deep Speed of rotation of turn table 2 RPM Size of turn table 410 mm dia with dishes placed | item123 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.02 | Tensile Strength Tester. Capacity of the tester 0 to 500x0.1 kg Speeds of traverse 100 and 300 mm/minute Minimum grip separation 25 mm Maximum grip separation 1000 mm Elongation measurement Measured between grips on a digital display from 0 to 1000x1 mm | item124 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.03 | Bench Thickness Gauge. Range of measurement 0 - 10 mm Least count of dial micrometer 0.01 mm Diameter of anvil 45 mm approximately Diameter of indenter 10 mm Load on indenter 157 g (200 g/cm) " | item125 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.04 | Crackness Tester For Leather Diameter of mandrels 6.75 mm (pivot pin), 8.33 mm, 10.38 mm, 13.18 mm, 17.22 mm, 23.57 mm, 35.00 m Diameter of roller 25 mm Angle of bending 180 Degree Power Source Electric | item126 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.05 | Dynamic Water Proofness Tester. Display Type Digital Weight 55 kg Power Electronic,AC 220V 1A Dimension 71x60x55 cm | item127 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.06 | Abrasion Tester Weight about 115 kg Power AC-220V 50 HZ Brand Globe Machine dimension 710*440*560 mm | item128 | 1 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information